## Slide 1: Quantitative Polymerase Chain Reaction (QPCR) Why, what and how?
Smadar Ben-Tabou de-Leon
Methods course, 4/7/2024

## Slide 2: Why do we measure change in gene expression level in response to stress/habitat difference?
Response gene
Cell
Nucleus
Stress
Sensors
Mediators
To decipher the genetic response to stress and environmental changes and understand the genetic defense mechanisms and their limitations
TF
TF- transcription factor
mRNA
Protein
Protection
Death
DNA
*Stress refers to heat, light, pollutant, hypoxia or any other environmental factor

## Slide 3: What do we measure? What do we need to extract from the cells?
Response gene
Cell
Nucleus
Sensors
Mediators
TF
TF- transcription factor
mRNA
Protein
Protection
Death
What is our control?
DNA
Stress

## Slide 4: Our control is the same cell/organism grown in similar conditions except from the stress
We will try to identify the response genes - that are differentially expressed because of the stress
Control
Treatment

## Slide 5: We will grow the control and treated samples, extract the RNA and generate cDNA from both
Control
Treatment
RNA
RNA
cDNA
cDNA
Why do we need cDNA?
cDNA is more stable than RNA
We can do PCR and QPCR with DNA using DNA polymerase
Reverse transcription
RNA extraction

## Slide 6: Methods: measurement of gene expression level by QPCR – Why? What? How?
mRNA and cDNA preparation
PCR and QPCR Procedure
Controls:
  Technical triplicates
  DNA contamination
  Non-specific amplification
Measurement of primer efficiency
Quantification of gene expression level compared to a reference gene
  Absolute quantification (Developmental time course)
  Relative quantification (treatment vs. control)
Plate design

## Slide 7
Amplifying specific DNA fragment by PCR
T
Denaturation
Annealing
Ellongation
Original DNA
0
~94˚C
50-60˚C
68-72˚C
1 copy
2 copies
1 cycle | 2 copies
2 cycles | 4 copies
3 cycles | 8 copies
N cycles | 2N copies
Key caveats:
Too short elongation time – no amplification
Too high annealing temperature – no amplification
Too low annealing temperature – non-specific product

## Slide 8
Amplifying specific DNA fragment by PCR
T
Denaturation
Annealing
Ellongation
Original DNA
0
~94˚C
50-60˚C
68-72˚C
1 copy
2 copies
Primer design:
Keep similar amplicon length for all primers (~150bp) that matches the extension time
Make sure that the annealing temperature matches your protocol
Use primer3: http://primer3.ut.ee/
If genome sequence is available you can design primers that are in different exons so they won’t be amplified from the DNA
Always test your primers in regular PCR to make sure that the size is correct and you don’t get non-specific bands
Make sure you put all the ingredients: Sample, Primers, Enzyme + nucleotides (sybr mix)

## Slide 9
Using fluorescent nucleotides for quantification of gene expression by QPCR (Quantitative PCR)
T
Denaturation
Annealing
Extension
Measurement
Original cDNA
0
~94˚C
50-60˚C
68-72˚C
Typical fluorescence curve

## Slide 10: Methods: measurement of gene expression level by QPCR – Why? What? How?
mRNA and cDNA preparation
PCR and QPCR Procedure
Controls:
  Technical triplicates
  DNA contamination
  Non-specific amplification
Measurement of primer efficiency
Quantification of gene expression level compared to a reference gene
  Absolute quantification (Developmental time course)
  Relative quantification (treatment vs. control)
Plate design

## Slide 11
Typical fluorescence curve
The QPCR file reports the cycle number in which your sample crossed a threshold defined by the machine
Fluorescence
Threshold
22.76
22.79
22.85
C0

## Slide 12
QPCR- internal controls
Technical triplicate – three wells with the same sample and primers
22.76
22.79
22.85
C0
Threshold
Typical fluorescence curve
Fluorescence
Good!
∆C0<0.5
Variable cDNA concentrations
Fluorescence
26.2
31.9
N/A
C0
Bad!
∆C0>1
Tsvia Gildor

## Slide 13
QPCR- internal controls
Technical triplicate – three wells with the same sample and primers
22.76
22.79
22.85
C0
Threshold
Did the cDNA came from RNA or from DNA contamination?
Typical fluorescence curve
RT-negative – RNA sample that didn’t go through RT-PCR so the only possible amplification is from DNA contamination – remember to leave some RNA for this control!
Fluorescence

## Slide 14
22.76
22.79
22.85
N/A
C0
Even if the RT-negative sample pass the threshold at high Cycle number (>10 from the sample) you can use the data
Did we amplify only the gene of interest or did we get non-specific amplification?
Technical triplicate – three wells with the same sample and primer
Run the primers with Negative-RT (RNA) and water
QPCR- internal controls
Fluorescence

## Slide 15
Derivative
Technical triplicate – three wells with the same sample and primer
Run the primers with Negative-RT (RNA) and water
Melt and dissociation curves show if the amplification was specific
QPCR- internal controls
A major drop at the amplicon annealing temperature
Fluorescence
A major Peak at the amplicon annealing temperature

## Slide 16
Technical triplicate – three wells with the same sample and primer
Run the primers with Negative-RT (RNA) and water
Melt and dissociation curves show if the amplification was specific
Derivative
QPCR- internal controls
Gene A
Gene B
Gene C
Gene D
Gene E

## Slide 17
mRNA and cDNA preparation
PCR and QPCR Procedure
Controls:
  Technical triplicates
  DNA contamination
  Non-specific amplification
How efficient is the amplification? Measurement of primer efficiency
Quantification of gene expression level compared to a reference gene
  Absolute quantification (Developmental time course)
  Relative quantification (treatment vs. control)
Plate design
Methods: measurement of gene expression level by QPCR

## Slide 18
22.76
22.79
22.85
QPCR – primer efficiency measurement by dilution sequence
In other words: looking for the actual base of the exponent
C0
To measure the primer efficiency – how efficient is the amplification at each cycle, we prepare a dilution sequence: Decreasing concentrations of cDNA in known ratio.
Then we test the difference in the cycle number for the different concentrations
A sample passed the threshold at cycle number 22.8
What will be the threshold of a sample that is 4 time lower in concertation?

## Slide 19
22.76
22.79
22.85
C0
1:4
24.83
24.76
24.74
C1:4
~24.8
QPCR – primer efficiency measurement by dilution sequence
In other words: looking for the actual base of the exponent
To measure the primer efficiency – how efficient is the amplification at each cycle, we prepare a dilution sequence: Decreasing concentrations of cDNA in known ratio.
Then we test the difference in the cycle number for the different concentrations
A sample passed the threshold at cycle number 22.8
What will be the threshold of a sample that is 4 time lower in concertation?

## Slide 20
1:4
1:4
1:16
1:32
22.76
22.79
22.85
C0
24.83
24.76
24.74
C1:4 C1:16 C1:32
27.06
27.10
26.88
28.13
28.16
28.07
In our lab we measured primer efficiencies in the range 1.8-2
Therefore we assume that in each cycle we get a amplification of ~1.9
Cycle numbers measured in a dilution series:
~23 ~25 ~27 ~28
The QPCR software gives the primer efficiency in percent, e.g., 97%, that you need to transform to get the base: 1.96
QPCR – primer efficiency measurement by dilution sequence
In other words: looking for the actual base of the exponent
Something the amplification behaves differently at low concentrations
Gildor and BDL Plos Gen 2015
Gene name | %Efficiency | Exponent base
Alx | 96.954497 | 1.9582229
Blimp | 93.367963 | 1.9101417
bmp24 | 92.324455 | 1.8963754
Bra | 90.907191 | 1.8778371

## Slide 21
mRNA and cDNA preparation
QPCR Principles
Controls:
  Technical triplicates
  DNA contamination
  Non-specific amplification
How efficient is the amplification? Measurement of primer efficiency
Quantification of gene expression level compared to a reference gene
  Absolute quantification (Developmental time course)
  Relative quantification (treatment vs. control)
Plate design
Methods: measurement of gene expression level by QPCR

## Slide 22
17.5
26.5
*RefGene could also be a “spike” – known amount of a given mRNA that we add to each well
Like GFP in Gildor and BTD Plos gen 2015
GeneofInterest
If the expression level of a reference gene is known, we can calculate the expression level of a gene of interest:
RefGene × 1.917.5 = GeneofInterest × 1.926.5
RefGene =160000 mRNA/cell GeneofInterest =?
Absolut quantification of gene expression level
RefGene

## Slide 23: Example for developmental time course with a spike-in reference gene (GFP)
hpf
1bp=650g/mole
1bp=(650/6×1023)×109ng
1 copy = Length x (650/6×1023)×109ng
In developmental time course all the genes show high variation, and it is hard to find a good internal reference gene. Spike-in is use- add known number of cDNA and molecules of a foreign gene (GFP) and use it as a reference
Chart: 
| 0 | 2 | 4 | 5 | 6 | 7 | 8 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 20 | 22 | 24 | 27 | 30
GFP #1 | 16.8141 | 16.9566 | 16.8686 | 16.9374 | 16.6717 | 16.588 | 16.9369 | 16.9469 | 16.7278 | 16.7334 | 16.6769 | 16.704 | 17.0406 | 16.8443 | 17.2213 | 16.9156 | 17.1026 | 17.1232 | 16.9685 | 17.0765 | 17.3244
Tbx2/3 #1 | 31.6299 | 30.9524 | 31.8988 | 32.1829 | 32.1018 | 32.4413 | 32.9297 | 31.4137 | 30.2185 | 29.494 | 28.3467 | 26.2755 | 25.5982 | 26.4425 | 26.3638 | 27.1399 | 27.6008 | 26.0574 | 26.6738 | 28.1023 | 28.4083
Cycle#
hpf
GFP= 650,000
Tbx2/3=650,000×1.9(CGFP-CTbx2/3)
Cycle #
Chart: 
| 0 | 2 | 4 | 5 | 6 | 7 | 8 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 20 | 22 | 24 | 27 | 30
GFP #1 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000
Tbx2/3 #1 | 48.191 | 81.5707 | 41.9935 | 36.5745 | 32.4865 | 24.7598 | 22.6394 | 60.2894 | 112.807 | 180.2397 | 363.0213 | 1395.7251 | 2675.7607 | 1372.0837 | 1838.3307 | 918.0378 | 770.0262 | 2101.1214 | 1280.9382 | 548.8216 | 528.7394
# cDNA
Expression level
From Gildor and SBD, Plos Den 2015

## Slide 24
Cycle#
hpf
Chart: 
| 0 | 2 | 4 | 5 | 6 | 7 | 8 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 20 | 22 | 24 | 27 | 30
GFP #1 | 16.8141 | 16.9566 | 16.8686 | 16.9374 | 16.6717 | 16.588 | 16.9369 | 16.9469 | 16.7278 | 16.7334 | 16.6769 | 16.704 | 17.0406 | 16.8443 | 17.2213 | 16.9156 | 17.1026 | 17.1232 | 16.9685 | 17.0765 | 17.3244
Tbx2/3 #1 | 31.6299 | 30.9524 | 31.8988 | 32.1829 | 32.1018 | 32.4413 | 32.9297 | 31.4137 | 30.2185 | 29.494 | 28.3467 | 26.2755 | 25.5982 | 26.4425 | 26.3638 | 27.1399 | 27.6008 | 26.0574 | 26.6738 | 28.1023 | 28.4083
GFP #2 | 16.5431 | 16.7035 | 16.6697 | 17.0985 | 16.7433 | 16.6716 | 16.9107 | 16.8686 | 16.8901 | 16.8501 | 16.8685 | 16.825 | 16.7845 | 16.8194 | 16.7938 | 16.792 | 16.8777 | 16.9141 | 16.9134 | 17.203 | 16.9286
GFP #3 | 16.5959 | 16.7182 | 16.6836 | 16.7135 | 16.5441 | 16.4149 | 16.7409 | 16.7372 | 16.7133 | 16.5921 | 16.3336 | 16.4517 | 16.7902 | 16.6959 | 16.6517 | 16.7956 | 16.7208 | 16.8297 | 16.6236 | 16.783 | 17.0019
Tbx2/3 #2 | 32.3133 | 32.0587 | 31.8153 | 32.6871 | 32.5915 | 32.2686 | 32.4898 | 30.9351 | 30.579 | 29.0312 | 27.5199 | 26.9894 | 26.3923 | 25.5418 | 25.7347 | 25.8838 | 26.9738 | 28.1352 | 26.3676 | 26.2244 | 26.1827
Tbx2/3 #3 | 31.1796 | 30.4902 | 30.9188 | 30.9881 | 31.4841 | 31.6719 | 31.8148 | 30.4409 | 29.2177 | 28.9829 | 27.485 | 26.1277 | 25.7712 | 25.6652 | 25.7904 | 25.6281 | 26.0544 | 25.78 | 25.7155 | 25.4786 | 25.8029
Chart: 
| 0 | 2 | 4 | 5 | 6 | 7 | 8 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 20 | 22 | 24 | 27 | 30
GFP #1 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000
Tbx2/3 #1 | 48.191 | 81.5707 | 41.9935 | 36.5745 | 32.4865 | 24.7598 | 22.6394 | 60.2894 | 112.807 | 180.2397 | 363.0213 | 1395.7251 | 2675.7607 | 1372.0837 | 1838.3307 | 918.0378 | 770.0262 | 2101.1214 | 1280.9382 | 548.8216 | 528.7394
GFP #2 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000
GFP #3 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000 | 650000
Tbx2/3 #2 | 26.1165 | 34.0877 | 38.9956 | 29.3465 | 24.8398 | 29.1869 | 29.5259 | 77.9504 | 99.3282 | 261.4498 | 697.89 | 953.9835 | 1363.6372 | 2407.3005 | 2092.1526 | 1899.1518 | 996.79 | 484.1404 | 1504.8654 | 1986.8859 | 1711.1802
Tbx2/3 #3 | 55.934 | 94.1738 | 69.9529 | 68.205 | 44.4976 | 36.3052 | 40.8321 | 98.3916 | 212.4645 | 228.5246 | 506.3298 | 1305.2714 | 2039.0348 | 2054.4582 | 1842.8082 | 2243.0105 | 1626.0787 | 2079.6058 | 1898.9034 | 2448.9428 | 2288.8608
# cDNA
hpf
At least 3 biological replicates are necessary for reliable measurement.

## Slide 25
Response-gene
Stress
Response-gene
Control
RefGene Control
RefGene Stress
18
24
28
Relative quantification: control vs. treatment
The level of the reference gene did not change due to stress, what is the change in the level of a response gene?
Importantly: the level of the reference gene cancels out so you do not need to know the absolute level of your reference gene to get the change in your gene of interest!
ΔΔCt=(18-24)-(18-28)=4
ΔCt_stress
-ΔCt_control
Assuming:
=

## Slide 26: Example for measurement of the gene response to treatments using internal reference gene
When measuring the effect of a treatment (light, pH, T, etc.) on gene expression we need to use an internal reference gene that doesn’t change due to the treatment and will help us normalize variation due to mRNA extraction and RT-PCR efficiencies.
 | ubi | vegfR | vegf | pitx | myod | sm30 | rhogap
Control | 16.49 | 25.69 | 25.04 | 29.4 | 26.46 | 21.35 | 26.77
Stress 1 | 16.57 | 29.58 | 24.93 | 32.09 | 33.67 | 28.49 | 31.97
Stress 2 | 16.54 | 27.18 | 24.81 | 31.01 | 30.43 | 21.73 | 27.75
RT-neg | 28.42 | 36.46 | 36.67 | 36.25 | 31.32 | 34.04 | 31.29
Kristina Tarsis, 19.3.2020
Ref-gene
Genes of interest
Cycle# averaged over 3 technical replicates
Chart: 
| vegfR | vegf | pitx | myod | sm30 | rhogap
Control | 1 | 1 | 1 | 1 | 1 | 1
Stress 1 | 0.10496 | 0.84519 | 0.19703 | 0.018998 | 0.038578 | 0.073711
Stress 2 | 0.496 | 0.92909 | 0.46974 | 0.11099 | 0.64421 | 0.56843
Chart: 
| vegfR | vegf | pitx | myod | sm30 | rhogap
Control | 1 | 1 | 1 | 1 | 1 | 1
Stress 1 | 0.10496 | 0.84519 | 0.19703 | 0.018998 | 0.038578 | 0.073711
Stress 2 | 0.496 | 0.92909 | 0.46974 | 0.11099 | 0.64421 | 0.56843
Relative level
Error bars show STD over 3 biological replicates
3 biological replicates are necessary for reliable measurement.

## Slide 27: Example for journal presentation of QPCR results
Journals require to present the individual measurements together with the average and standard deviation (and the original excel file).
They request statistical tests for significance. We use the built-in z-test in excel.
Tarsis, Gildor, Morgulis, Ben-Tabou de-Leon, Dev Dyn 2022
** - p<0.001, one tailed z-test

## Slide 28
mRNA and cDNA preparation
QPCR Principles
Controls:
  Technical triplicates
  DNA contamination
  Non-specific amplification
How efficient is the amplification? Measurement of primer efficiency
Calculating gene expression level compared to a reference gene
  Absolute quantification (Developmental time course)
  Relative quantification (treatment vs. control)
Plate design
Methods: measurement of gene expression level by QPCR

## Slide 29
Different primers
Different samples
]
]
]
W
RT-neg
18C
23C
28C
Ref-A
Ref-B
HSP70
….
Plate design – all the samples and the primers of one biological replicate should be on the same plate
Multichannel pipettes are highly recommended
Take a look at the filled tips before you load into the plate to see that you filled evenly

## Slide 30: Good luck!